## 1ML
別紙-1 | [12 empty] | 課長 | 主任 | 所属部署
|  |  | 受入作業チェックシート | [11 empty] | 出荷 | 原油 | 機動 | 主務職印鑑
[15 empty] | FALSE | FALSE | FALSE
2026-03-30 | [12 empty] | 一般 | 白物 | FALSE | FALSE | FALSE | 松田
バース№ | 4 |  |  |  | 油種 | U-AC9 |  |  |  |  | 積地 |  | 福岡A
船名 | マリン |  |  |  | 数量 | 2000 |  |  |  |  | 受入タンク№ |  | 20 |  | 受入記録帳
ステップ | チェック | 操作確認項目
準備 | FALSE | ① JX無線機 １台 受入配管フロー図
着桟後 | FALSE | ① ボンディングケーブルの取付け
打合せ | FALSE | ① 荷役打合せ ・送り状の確認 ・受入油種、数量、積地の確認 ・封印の有無（個数）
及び |  | ・船舶ポンプ能力、使用台数 ・揚荷順序、手順 ・終了時のエアー押し回数等
確認点検 | FALSE | ② 封印の確認・解封及び検尺、検温作業立会い。（本船数量の運送異常増減を計算し、代理店へ連絡する。）
事項 | FALSE | ③ 船舶チェックリストによる点検。
L/A 取付け | FALSE | ① 桟橋上バルブ（手動・自動）及び 船側マニホールド先端バルブが確実に閉止されていることを確認後、L/Aを結着する。
| FALSE | ② L/A結着後、L/A元バルブ（手動）開放した後、取付け口を陸上の窒素を使用し、0.3～0.4Mpaでリークテストを実施する。
揚荷準備 | FALSE | ① 計器室への連絡 ・インボイス、密度、温度、数量（見掛・換算）
| FALSE | ② 桟橋上以外の陸上側準備を依頼すると共に本船側にも準備を依頼する。 ◎11ﾊﾞｰｽ RG系受入時は桟橋①バルブ閉止の事！
※桟橋先端バルブ及び船側マニホールド先端バルブは閉止のまま！
| FALSE | ③ 桟橋上以外の陸上側 及び 船側の準備完了を確認する。
| FALSE | ④ 桟橋上のバルブを開放して、陸上ラインの導通 及び 圧力の脱落を確認する。（自動バルブの操作は、計器室へ依頼）
揚荷開始 | FALSE | ① 船側にポンプの起動を依頼する。 ※船側マニホールド先端バルブ開放！
| FALSE | ② 桟橋圧力 0.1～0.15Mpa に調整する。
| FALSE | ③ 計器室に陸上タンクレベル上昇を確認する。
| FALSE | ④ 計器室の許可を得て 桟橋圧力 0.3Mpa まで昇圧する。 （滞油抜き流量に調整する）
| FALSE | ⑤ 滞油抜き完了を確認する。
| FALSE | ⑥ 計器室の許可を得てMAX圧力・流量まで徐々に昇圧する。
揚荷中 | FALSE | ① 2時間毎に船側と陸上の揚量を確認する。 | [6 empty] | 揚荷開始： |  | 13:45 | 揚荷終了： | 15:10
|  | 時間 | 桟橋圧力 |  | 流速 | 揚げ数量 |  | 担当者 | 時間 |  | 桟橋圧力 | 流速 | 揚げ数量 | 担当者
揚荷終了 | FALSE | ① 船側より揚荷終了の連絡を受けたら、各油槽のドライチェックをする。（目視）
| FALSE | ② エアー押し（又は窒素ブロー）を実施する。 | [6 empty] | 終了時エアー押し回数 |  |  | 2026-02-01
| FALSE | ③ 揚荷終了の旨を計器室へ連絡する。（陸上受入数量を確認し、陸揚異常増減耗を計算して代理店へ連絡する。）
L/A 取外し | FALSE | ① 陸・船側バルブ閉止を確認後、残圧を処理しL/Aの取外しを行う。
手仕舞い | FALSE | ① ボンディングケーブルの取外し。
| FALSE | ② 備品を回収し、桟橋上のバルブ・備品等を確認する。 ◎11ﾊﾞｰｽ RG系受入後は桟橋①バルブ開放の事！
離桟前 | FALSE | ① 代理店に揚荷協定の完了を確認後、船を離桟させる。
備考欄 | 800 | ㎥/h × | 1 | 台 |  | 吐出 | 0.3 |  | 桟橋 | 0.24 |  | 流速 | 800

## APPROVAL_QUEUE (hidden)
recordId | status | title | workDate | shipName | berthNo | department | draftPdfUrl | draftPdfName | finalPdfUrl | finalPdfName | payloadJson | createdAt | updatedAt | finalizedAt
20260320-124707 | done | 2026-03-18 8 にったんまりん丸 | 2026-03-18 | にったんまりん丸 | 8 | 原油 | https://drive.google.com/file/d/1rHsgoEe9Pmu6bVapPiSaYYQ8VqPSJXal/view?usp=drivesdk | 2026-03-18 8 にったんまりん丸 仮.pdf | https://drive.google.com/file/d/1MfLS2ckJiQfEVNyDTyravmrmDMUyv69Z/view?usp=drivesdk | 2026-03-18 8 にったんまりん丸 確定版.pdf | {"department":"原油","fields":{"workDate":"2026-03-18","category":"白物","berthNo":"8","oilType":"CFO MDO","origin":"福岡A 水島A","shipName":"にったんまりん丸","quantity":"30001000","tankNo":"30=100kl 40=残り","startVolume":"1200","endVolume":"1820","pumpCapacity":"800","pumpCount":"2","airPushCount":"2-1","invoiceNote":"","staffStampName":"吉田"},"logs":[{"key":"left1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"stamps":{"chief":"東山","deputy":"美山","staff":"吉田"}} | 2026-03-20 12:47 | 2026-03-20 12:58 | 2026-03-20 12:58
20260320-133857 | done | 2026-03-20 8 MARIN | 2026-03-20 | MARIN | 8 | 出荷 | https://drive.google.com/file/d/1MG-QkS_DtnnYTFXs9jpb_LIp5QfEqNlp/view?usp=drivesdk | 2026-03-20 8 MARIN 仮_2.pdf | https://drive.google.com/file/d/1Lxx9sFenXCJqTXRoGrDj5z-vmYEZNDBp/view?usp=drivesdk | 2026-03-20 8 MARIN 確定版.pdf | {"department":"出荷","fields":{"workDate":"2026-03-20","category":"黒物","berthNo":"8","oilType":"CFO AFO","origin":"福岡A 水島A","shipName":"MARIN","quantity":"2000 3000","tankNo":"29 77","startVolume":"08:30","endVolume":"11:30","pumpCapacity":"800","pumpCount":"1","dischargePressure":"0.22 Mpa","pierPressure":"0.18 Mpa","bridgeFlowRate":"900 KL/H","airPushCount":"2-","invoiceNote":"","staffStampName":"松田"},"logs":[{"key":"left1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"stamps":{"chief":"東山","deputy":"美山","staff":"松田"}} | 2026-03-20 13:39 | 2026-03-20 14:18 | 2026-03-20 14:18
20260320-142332 | done | 2026-03-20 5 nittan丸 | 2026-03-20 | nittan丸 | 5 |  | https://drive.google.com/file/d/18OYKVLo7YWFQbdTqNzp54T1Oecv8q_nX/view?usp=drivesdk | 2026-03-20 5 nittan丸 仮.pdf | https://drive.google.com/file/d/1gbakvXIpU4OOxw4nKrbYSDc9HQv49Dvk/view?usp=drivesdk | 2026-03-20 5 nittan丸 確定版.pdf | {"department":"","fields":{"workDate":"2026-03-20","category":"黒物","berthNo":"5","oilType":"C重油","origin":"水島A","shipName":"nittan丸","quantity":"4000","tankNo":"32","startVolume":"07:20","endVolume":"09:25","pumpCapacity":"","pumpCount":"","dischargePressure":"","pierPressure":"","bridgeFlowRate":"","airPushCount":"","invoiceNote":"","staffStampName":"深川"},"logs":[{"key":"left1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"stamps":{"chief":"東山","deputy":"美山","staff":"深川"}} | 2026-03-20 14:24 | 2026-03-20 14:31 | 2026-03-20 14:31
20260320-000001 | done | 2026-03-20 5 テスト丸 | 2026-03-20 | テスト丸 | 5 | 出荷 | https://drive.google.com/file/d/18vxF0M2rmiseg0eyDTlqjXjOq4j22aAs/view?usp=drivesdk | 2026-03-20 5 テスト丸 仮.pdf | https://drive.google.com/file/d/1lRs_dwY_UtyEQKmNdh10EY9vWRomZ0Ee/view?usp=drivesdk | 2026-03-20 5 テスト丸 確定版.pdf | {"department":"出荷","fields":{"workDate":"2026-03-20","category":"黒物","berthNo":"5","oilType":"C重油","origin":"水島A","shipName":"テスト丸","quantity":"4000","tankNo":"32","startVolume":"18:10","endVolume":"01:35","pumpCapacity":"","pumpCount":"","dischargePressure":"","pierPressure":"","bridgeFlowRate":"","airPushCount":"","invoiceNote":"","staffStampName":"洲脇"},"logs":[{"key":"left1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"stamps":{"chief":"西","deputy":"有吉","staff":"洲脇"}} | 2026-03-20 15:36 | 2026-03-20 15:48 | 2026-03-20 15:48
20260321-000002 | done | 2026-03-21 12 第3 ほうえい | 2026-03-21 | 第3 ほうえい | 12 |  | https://drive.google.com/file/d/1-j4PJWaqGySRpLCBpwY42uto-bay61pL/view?usp=drivesdk | 2026-03-21 12 第3 ほうえい 仮.pdf | https://drive.google.com/file/d/1HpEAxMQSI32Th8FuIcj_R3c8IAchWGEU/view?usp=drivesdk | 2026-03-21 12 第3 ほうえい 確定版.pdf | {"department":"","fields":{"workDate":"2026-03-21","category":"黒物","berthNo":"12","oilType":"CLO","origin":"OOXX","shipName":"第3 ほうえい","quantity":"1500","tankNo":"40","startVolume":"19:05","endVolume":"22:00","pumpCapacity":"850","pumpCount":"2","dischargePressure":"0.35 Mpa","pierPressure":"0.20 Mpa","bridgeFlowRate":"980 KL/H","airPushCount":"2-1","invoiceNote":"","staffStampName":"松田"},"logs":[{"key":"left1","time":"11","pressure":"0.25","flow":"990","amount":"1248","person":"近藤"},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"stamps":{"chief":"東山","deputy":"美山","staff":"松田"}} | 2026-03-21 09:31 | 2026-03-21 09:50 | 2026-03-21 09:50
20260321-000005 | done | 2026-03-21 12 第8 ほうえい | 2026-03-21 | 第8 ほうえい | 12 |  | https://drive.google.com/file/d/1ZC-ClmpDDR_6H3JEsjVANhEeDAlEDblF/view?usp=drivesdk | 2026-03-21 12 第8 ほうえい 仮.pdf | https://drive.google.com/file/d/1Bn908d6aOeGimtUv5E-oMDs8qqJRrzGh/view?usp=drivesdk | 2026-03-21 12 第8 ほうえい 確定版.pdf | {"department":"","fields":{"workDate":"2026-03-21","category":"黒物","berthNo":"12","oilType":"CLO","origin":"OOXX","shipName":"第8 ほうえい","quantity":"1500","tankNo":"40","startVolume":"19:05","endVolume":"22:00","pumpCapacity":"850","pumpCount":"2","dischargePressure":"0.35 Mpa","pierPressure":"0.20 Mpa","bridgeFlowRate":"980 KL/H","airPushCount":"2-1","invoiceNote":"","staffStampName":"安藤"},"logs":[{"key":"left1","time":"11","pressure":"0.25","flow":"990","amount":"1248","person":"近藤"},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","deputy":"美山","staff":"安藤"}} | 2026-03-21 10:17 | 2026-03-21 10:20 | 2026-03-21 10:20
20260321-000006 | done | 2026-03-21 12 ほうえい | 2026-03-21 | ほうえい | 12 | 機動 | https://drive.google.com/file/d/1HrqE5Ye9J2PqcNGK9JMX0U8viTjt6oEn/view?usp=drivesdk | 2026-03-21 12 ほうえい 仮.pdf | https://drive.google.com/file/d/1GDUHRS-sMcjb0PE0mirZ1lqE6nj4PI_J/view?usp=drivesdk | 2026-03-21 12 ほうえい 確定版.pdf | {"department":"機動","fields":{"workDate":"2026-03-21","category":"黒物","berthNo":"12","oilType":"U-RDSBTM","origin":"OOXX","shipName":"ほうえい","quantity":"1500","tankNo":"40","startVolume":"08:50","endVolume":"21:20","pumpCapacity":"850","pumpCount":"2","dischargePressure":"0.35 Mpa","pierPressure":"0.20 Mpa","bridgeFlowRate":"980 KL/H","airPushCount":"2-1","invoiceNote":"","staffStampName":"藤原豊"},"logs":[{"key":"left1","time":"11","pressure":"0.25","flow":"990","amount":"1248","person":"近藤"},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","deputy":"美山","staff":"藤原豊"}} | 2026-03-21 11:07 | 2026-03-21 11:12 | 2026-03-21 11:12
20260321-000007 | done | 2026-03-21 16 あさひ丸 | 2026-03-21 | あさひ丸 | 16 | 出荷 | https://drive.google.com/file/d/1f8Xg6YdUq28iyhfXy5qgGy__gn4bUgsg/view?usp=drivesdk | 2026-03-21 16 あさひ丸 仮.pdf | https://drive.google.com/file/d/1aKaAfgDl1RbPnIBsR1FH1W34dLFD05Bd/view?usp=drivesdk | 2026-03-21 16 あさひ丸 確定版.pdf | {"department":"出荷","fields":{"workDate":"2026-03-21","category":"黒物","berthNo":"16","oilType":"U-HDSLSR","origin":"水島A","shipName":"あさひ丸","quantity":"4000","tankNo":"32","startVolume":"08:10","endVolume":"10:10","pumpCapacity":"1000","pumpCount":"1","dischargePressure":"0.36 Mpa","pierPressure":"0.28 Mpa","bridgeFlowRate":"990 KL/H","airPushCount":"3-1","invoiceNote":"","staffStampName":"大上"},"logs":[{"key":"left1","time":"13","pressure":"0.22","flow":"900","amount":"1100","person":"石原"},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","deputy":"美山","staff":"大上"}} | 2026-03-21 12:56 | 2026-03-21 13:03 | 2026-03-21 13:03
20260321-000008 | done | 2026-03-21 16 テスト丸 | 2026-03-21 | テスト丸 | 16 | 出荷 | https://drive.google.com/file/d/1BWc8LMmIlw-CK9NysHA_G6SRe65ZIGMJ/view?usp=drivesdk | 2026-03-21 16 テスト丸 仮.pdf | https://drive.google.com/file/d/1abenoW6Q21asPgv_K86iv6IchIROhS7r/view?usp=drivesdk | 2026-03-21 16 テスト丸 確定版.pdf | {"department":"出荷","fields":{"workDate":"2026-03-21","category":"黒物","berthNo":"16","oilType":"U-RDSBTM","origin":"水島A","shipName":"テスト丸","quantity":"5000","tankNo":"240","startVolume":"23:35","endVolume":"00:40","pumpCapacity":"1000","pumpCount":"1","dischargePressure":"0.00 Mpa","pierPressure":"0.25 Mpa","bridgeFlowRate":"1100 KL/H","airPushCount":"3-1","invoiceNote":"","staffStampName":"武智"},"logs":[{"key":"left1","time":"14","pressure":"0.3","flow":"1110","amount":"1900","person":"近藤"},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","deputy":"美山","staff":"武智"}} | 2026-03-21 13:51 | 2026-03-21 13:54 | 2026-03-21 13:54
20260321-000009 | done | 2026-03-21 18 3/21 最終テスト① | 2026-03-21 | 3/21 最終テスト① | 18 | 機動 | https://drive.google.com/file/d/1Q7fd5xnoijpd_suEyGA44YVPqvNIQobv/view?usp=drivesdk | 2026-03-21 18 3/21 最終テスト① 仮_2.pdf | https://drive.google.com/file/d/1JSXpjczIw9bj6HJWJeSrwP_fDrFIU_gO/view?usp=drivesdk | 2026-03-21 18 3/21 最終テスト① 確定版.pdf | {"department":"機動","fields":{"workDate":"2026-03-21","category":"白物","berthNo":"18","oilType":"U-RAF","origin":"水島A","shipName":"3/21 最終テスト①","quantity":"2000","tankNo":"10","startVolume":"20:00","endVolume":"03:20","pumpCapacity":"950","pumpCount":"1","dischargePressure":"0.50 Mpa","pierPressure":"0.38 Mpa","bridgeFlowRate":"870 KL/H","airPushCount":"2-1","invoiceNote":"","staffStampName":"安藤"},"logs":[{"key":"left1","time":"12","pressure":"0.4","flow":"900","amount":"1578","person":"近藤"},{"key":"left2","time":"14","pressure":"0.44","flow":"943","amount":"3642","person":"洲脇"},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","deputy":"美山","staff":"安藤"}} | 2026-03-21 15:21 | 2026-03-21 15:45 | 2026-03-21 15:45
20260321-000010 | done | 2026-03-21 18 3/21 最終テスト① | 2026-03-21 | 3/21 最終テスト① | 18 | 機動 | https://drive.google.com/file/d/1SZSE1WTF47vRpI86HlepyhGeISAre8D9/view?usp=drivesdk | 2026-03-21 18 3/21 最終テスト① 仮_5.pdf | https://drive.google.com/file/d/1EbEvCErefK4GRgW9hrVD-yapvgnwnlbQ/view?usp=drivesdk | 2026-03-21 18 3/21 最終テスト① 確定版_2.pdf | {"department":"機動","fields":{"workDate":"2026-03-21","category":"黒物","berthNo":"18","oilType":"U-RAF","origin":"水島A","shipName":"3/21 最終テスト①","quantity":"2000","tankNo":"10","startVolume":"20:00","endVolume":"03:20","pumpCapacity":"950","pumpCount":"1","dischargePressure":"0.50 Mpa","pierPressure":"0.38 Mpa","bridgeFlowRate":"870 KL/H","airPushCount":"2-1","invoiceNote":"","staffStampName":"原田博"},"logs":[{"key":"left1","time":"12","pressure":"0.4","flow":"900","amount":"1578","person":"近藤"},{"key":"left2","time":"14","pressure":"0.44","flow":"943","amount":"3642","person":"洲脇"},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","deputy":"美山","staff":"原田博"}} | 2026-03-21 15:52 | 2026-03-21 15:59 | 2026-03-21 15:59
20260323-000001 | done | 2026-03-22 8 第１８日照丸 | 2026-03-22 | 第１８日照丸 | 8 | 機動 | https://drive.google.com/file/d/13sNvju6hcRA8XC1cPIYjIbJrUYsb6gUC/view?usp=drivesdk | 2026-03-22 8 第１８日照丸 仮_2.pdf | https://drive.google.com/file/d/1fg4Qp9q8bv_ELA7yboDtwYnPrJbnhmNQ/view?usp=drivesdk | 2026-03-22 8 第１８日照丸 確定版.pdf | {"department":"機動","fields":{"workDate":"2026-03-22","category":"白物","berthNo":"8","oilType":"U-RDSBTM","origin":"福岡A","shipName":"第１８日照丸","quantity":"3000","tankNo":"30","startVolume":"09:15","endVolume":"12:30","pumpCapacity":"950","pumpCount":"1","dischargePressure":"0.35 Mpa","pierPressure":"0.29 Mpa","bridgeFlowRate":"900 KL/H","airPushCount":"3-1","invoiceNote":"","staffStampName":"大上"},"logs":[{"key":"left1","time":"10","pressure":"0.22","flow":"990","amount":"1500","person":"米井"},{"key":"left2","time":"11","pressure":"0.22","flow":"800","amount":"1987","person":"吉田"},{"key":"left3","time":"12","pressure":"0.28","flow":"260","amount":"2856","person":"小島"},{"key":"right1","time":"15","pressure":"0.21","flow":"900","amount":"3987","person":"有吉"},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","deputy":"美山","staff":"大上"}} | 2026-03-23 09:45 | 2026-03-23 09:54 | 2026-03-23 09:54
20260323-000004 | done | 2026-03-23 12 テスト① | 2026-03-23 | テスト① | 12 |  | https://drive.google.com/file/d/16uKQ87XPf10cmTDaaNpzOAP-L-vP7msV/view?usp=drivesdk | 2026-03-23 12 テスト① 仮.pdf | https://drive.google.com/file/d/1JCuFuIfx97lVCXg3lDjDS9qA-F12m1fD/view?usp=drivesdk | 2026-03-23 12 テスト① 確定版.pdf | {"department":"","fields":{"workDate":"2026-03-23","category":"黒物","berthNo":"12","oilType":"U-RDSBTM","origin":"水島","shipName":"テスト①","quantity":"4900","tankNo":"33","startVolume":"10:10","endVolume":"15:15","pumpCapacity":"1300","pumpCount":"1","dischargePressure":"0.50 Mpa","pierPressure":"0.50 Mpa","bridgeFlowRate":"1700 KL/H","airPushCount":"3","invoiceNote":"","staffStampName":"松田"},"logs":[{"key":"left1","time":"1100","pressure":"0.3","flow":"1100","amount":"1100","person":"村上"},{"key":"left2","time":"1300","pressure":"0.2","flow":"1100","amount":"2234","person":"村上"},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","deputy":"美山","staff":"松田"}} | 2026-03-23 10:28 | 2026-03-23 10:37 | 2026-03-23 10:37
20260323-000005 | done | 2026-03-23 5 ABC | 2026-03-23 | ABC | 5 | 原油 | https://drive.google.com/file/d/1CyYkg_ZrQC2NZZxvcQdsqVkcg2YvKl2D/view?usp=drivesdk | 2026-03-23 5 ABC 仮_2.pdf | https://drive.google.com/file/d/1Xzd29qSAt-rdylpXX_DO3YB3MPRfvJNk/view?usp=drivesdk | 2026-03-23 5 ABC 確定版_2.pdf | {"department":"原油","fields":{"workDate":"2026-03-23","category":"白物","berthNo":"5","oilType":"U-HDSLSR","origin":"水島A 福岡B","shipName":"ABC","quantity":"2000","tankNo":"30","startVolume":"10:35","endVolume":"13:25","pumpCapacity":"900","pumpCount":"1","dischargePressure":"0.30 Mpa","pierPressure":"0.25 Mpa","bridgeFlowRate":"1000 KL/H","airPushCount":"2-1","invoiceNote":"","staffStampName":"松田"},"logs":[{"key":"left1","time":"12","pressure":"0.22","flow":"980","amount":"1230","person":"稲吉"},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":false,"C12":false,"C14":false,"C15":false,"C16":false,"C17":false,"C18":false,"C19":false,"C21":false,"C22":false,"C23":false,"C24":false,"C25":false,"C26":false,"C27":false,"C28":false,"C29":false,"C34":false,"C35":false,"C36":false,"C37":false,"C38":false,"C39":false,"C40":false},"stamps":{"chief":"東山","deputy":"美山","staff":"松田"}} | 2026-03-23 10:54 | 2026-03-23 12:39 | 2026-03-23 12:39
20260323-000007 | done | 2026-03-23 8 テスト丸 3/23 | 2026-03-23 | テスト丸 3/23 | 8 | 原油 | https://drive.google.com/file/d/1nV-DSYVWHy1IIIh9rKbui_DrceIPZnWj/view?usp=drivesdk | 2026-03-23 8 テスト丸 3/23 仮.pdf | https://drive.google.com/file/d/1kyu4kclP9KdAKOAGApySvZTb4ao1wAOz/view?usp=drivesdk | 2026-03-23 8 テスト丸 3/23 確定版.pdf | {"department":"原油","fields":{"workDate":"2026-03-23","category":"白物","berthNo":"8","oilType":"U-AC9","origin":"福岡B","shipName":"テスト丸 3/23","quantity":"4000","tankNo":"30","startVolume":"13:05","endVolume":"18:30","pumpCapacity":"850","pumpCount":"1","dischargePressure":"0.25 Mpa","pierPressure":"0.30 Mpa","bridgeFlowRate":"900 KL/H","airPushCount":"3-1","invoiceNote":"","staffStampName":"安藤"},"logs":[{"key":"left1","time":"12","pressure":"0.22","flow":"990","amount":"1200","person":"漆谷"},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","staff":"安藤"}} | 2026-03-23 15:00 | 2026-03-23 15:06 | 2026-03-23 15:06
20260323-000008 | done | 2026-03-23 8 テスト丸 3/23 ② | 2026-03-23 | テスト丸 3/23 ② | 8 | 原油 | https://drive.google.com/file/d/1YQRLKWbSEpQSrOB2EgJ79ZiO8dGh4a4M/view?usp=drivesdk | 2026-03-23 8 テスト丸 3/23 ② 仮.pdf | https://drive.google.com/file/d/1zTj1rMAnhGDepYunxgOViEKMc0MCC7D6/view?usp=drivesdk | 2026-03-23 8 テスト丸 3/23 ② 確定版.pdf | {"department":"原油","fields":{"workDate":"2026-03-23","category":"白物","berthNo":"8","oilType":"U-AC9","origin":"福岡B","shipName":"テスト丸 3/23 ②","quantity":"4000","tankNo":"30","startVolume":"13:05","endVolume":"18:30","pumpCapacity":"850","pumpCount":"1","dischargePressure":"0.25 Mpa","pierPressure":"0.30 Mpa","bridgeFlowRate":"900 KL/H","airPushCount":"3-1","invoiceNote":"","staffStampName":"洲脇"},"logs":[{"key":"left1","time":"12","pressure":"0.22","flow":"990","amount":"1200","person":"漆谷"},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":true,"C11":true,"C12":true,"C14":true,"C15":true,"C16":true,"C17":true,"C18":true,"C19":true,"C21":true,"C22":true,"C23":true,"C24":true,"C25":true,"C26":true,"C27":true,"C28":true,"C29":true,"C34":true,"C35":true,"C36":true,"C37":true,"C38":true,"C39":true,"C40":true},"stamps":{"chief":"東山","staff":"洲脇"}} | 2026-03-23 15:29 | 2026-03-23 15:37 | 2026-03-23 15:37
4B-20260330-000001 | staff_pending | 2026-03-30 4 マリン丸 | 2026-03-30 | マリン丸 | 4 |  | https://drive.google.com/file/d/1S8S5zG985iJcjXP8z7TLVoLDgOMyj3h2/view?usp=drivesdk | 2026-03-30 4 マリン丸 仮_2.pdf |  |  | {"department":"","fields":{"workDate":"2026-03-30","category":"白物","berthNo":"4","oilType":"U-AC9","origin":"福岡A","shipName":"マリン丸","quantity":"2000","tankNo":"20","startVolume":"13:45","endVolume":"15:10","pumpCapacity":"800","pumpCount":"1","dischargePressure":"0.30 Mpa","pierPressure":"0.24 Mpa","bridgeFlowRate":"800 KL/H","airPushCount":"2-1","invoiceNote":"","staffStampName":""},"logs":[{"key":"left1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":false,"C11":false,"C12":false,"C14":false,"C15":false,"C16":false,"C17":false,"C18":false,"C19":false,"C21":false,"C22":false,"C23":false,"C24":false,"C25":false,"C26":false,"C27":false,"C28":false,"C29":false,"C34":false,"C35":false,"C36":false,"C37":false,"C38":false,"C39":false,"C40":false},"stamps":{"chief":"","staff":""}} | 2026-03-30 09:38 | 2026-03-30 14:10 | 2026-03-30 14:09
20260330-000002 | done | 2026-03-30 4 test | 2026-03-30 | test | 4 |  | https://drive.google.com/file/d/1INIV_w7uD9uvx2VkLEfc_HI4vXjxZjH1/view?usp=drivesdk | 2026-03-30 4 test 仮.pdf | https://drive.google.com/file/d/1ewxjwpJ8a1q5H7yQaLy2arB26UJcOHbM/view?usp=drivesdk | 2026-03-30 4 test 確定版.pdf | {"department":"","fields":{"workDate":"2026-03-30","category":"白物","berthNo":"4","oilType":"U-AC9","origin":"A","shipName":"test","quantity":"2000","tankNo":"8","startVolume":"","endVolume":"","pumpCapacity":"300","pumpCount":"1","dischargePressure":"","pierPressure":"","bridgeFlowRate":"","airPushCount":"2-1","invoiceNote":"","staffStampName":"洲脇"},"logs":[{"key":"left1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":false,"C11":false,"C12":false,"C14":false,"C15":false,"C16":false,"C17":false,"C18":false,"C19":false,"C21":false,"C22":false,"C23":false,"C24":false,"C25":false,"C26":false,"C27":false,"C28":false,"C29":false,"C34":false,"C35":false,"C36":false,"C37":false,"C38":false,"C39":false,"C40":false},"stamps":{"chief":"東山","staff":"洲脇"}} | 2026-03-30 11:11 | 2026-03-30 11:16 | 2026-03-30 11:16
4B-20260330-000003 | done | 2026-03-30 4 test２ | 2026-03-30 | test２ | 4 |  | https://drive.google.com/file/d/1ph1KImOlmtnxQ0246yE9bKvo-JHd87a_/view?usp=drivesdk | 2026-03-30 4 test２ 仮_2.pdf | https://drive.google.com/file/d/1CJqhODttSdrd6G6sDzff6k0MJI6W9CfL/view?usp=drivesdk | 2026-03-30 4 test２ 確定版_2.pdf | {"department":"","fields":{"workDate":"2026-03-30","category":"白物","berthNo":"4","oilType":"U-AC9","origin":"A","shipName":"test２","quantity":"2000","tankNo":"8","startVolume":"","endVolume":"","pumpCapacity":"300","pumpCount":"1","dischargePressure":"","pierPressure":"","bridgeFlowRate":"","airPushCount":"2-1","invoiceNote":"","staffStampName":"稲吉"},"logs":[{"key":"left1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":false,"C11":false,"C12":false,"C14":false,"C15":false,"C16":false,"C17":false,"C18":false,"C19":false,"C21":false,"C22":false,"C23":false,"C24":false,"C25":false,"C26":false,"C27":false,"C28":false,"C29":false,"C34":false,"C35":false,"C36":false,"C37":false,"C38":false,"C39":false,"C40":false},"stamps":{"chief":"東山","staff":"稲吉"}} | 2026-03-30 11:24 | 2026-03-30 11:45 | 2026-03-30 11:45
4B-20260330-000002 | done | 2026-03-30 4 マリン | 2026-03-30 | マリン | 4 |  | https://drive.google.com/file/d/1pkbU9LvyLzPn7cqxlhYpW_pb6W03Av2-/view?usp=drivesdk | 2026-03-30 4 マリン 仮_2.pdf | https://drive.google.com/file/d/1OXWXAhKIlLDle827T57kce1AiB1da024/view?usp=drivesdk | 2026-03-30 4 マリン 確定版.pdf | {"department":"","fields":{"workDate":"2026-03-30","category":"白物","berthNo":"4","oilType":"U-AC9","origin":"福岡A","shipName":"マリン","quantity":"2000","tankNo":"20","startVolume":"13:45","endVolume":"15:10","pumpCapacity":"800","pumpCount":"1","dischargePressure":"0.30 Mpa","pierPressure":"0.24 Mpa","bridgeFlowRate":"800 KL/H","airPushCount":"2-1","invoiceNote":"","staffStampName":"松田"},"logs":[{"key":"left1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"left3","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right1","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right2","time":"","pressure":"","flow":"","amount":"","person":""},{"key":"right3","time":"","pressure":"","flow":"","amount":"","person":""}],"checks":{"C10":false,"C11":false,"C12":false,"C14":false,"C15":false,"C16":false,"C17":false,"C18":false,"C19":false,"C21":false,"C22":false,"C23":false,"C24":false,"C25":false,"C26":false,"C27":false,"C28":false,"C29":false,"C34":false,"C35":false,"C36":false,"C37":false,"C38":false,"C39":false,"C40":false},"stamps":{"chief":"東山","staff":"松田"}} | 2026-03-30 14:25 | 2026-03-30 14:52 | 2026-03-30 14:52

## 名簿
出荷 | 吉田 | 原油 | 安藤 | 機動 | 松田
出荷 | 原田博 | 原油 | 稲吉 | 機動 | 小倉正
出荷 | 洲脇 | 原油 | 深川 | 機動 | 近藤
出荷 | 田中昂 | 原油 | 武智 | 機動 | 小島
出荷 | 原田英 | 原油 | 藤原豊 | 機動 | 岩崎
出荷 | 仲田 | 原油 | 三宅 | 機動 | 村上
出荷 | 守分 | 原油 | 上田 | 機動 | 岡田
出荷 | 武田 | 原油 | 岡本 | 機動 | 小倉裕
出荷 | 岩貞 | 原油 | 山本 | 機動 | 久保
出荷 | 松尾 | 原油 | 上川畑 | 機動 | 米井
出荷 | 家倉 | 原油 | 坂本 | 機動 | 角田
出荷 | 大上 | 原油 | 漆谷 | 機動 | 下山
出荷 | 中野 | 原油 | 渡邉丞 | 機動 | 野津
出荷 | 川上 | 原油 | 辻岡 | 機動 | 有吉
出荷 | 中久保 | 原油 | 菅野 | 機動 | 西
出荷 | 石原 | 原油 | 小郷 | 機動
出荷 |  | 原油 |  | 機動
名前を追加・変更したら押してください

## プルダウン設定
U-HDSLSR
U-AC9
U-RAF
U-RDSBTM
U-CBVR
U-LCO
U-HSAR
U-CLO
U-GO
U-AFO
U-LSA
U-スロップ
U-NAOH
YU-100

## IMG_MAP
name | fileId
吉田 | 1JaVTvkxa34CfaPfISDbWZrGkOINBLDOk
稲吉 | 1_BPTVJRblQUmdQinyEeQDvyz4chokIP-
深川 | 1kAk5bnk5ZNzYF8xHgyYKixqyubyYLk5S
田中昂 | 1c0S8cnGuL2FO-g7o1bWxpGcOqVRWgJHb
藤原豊 | 1srGBn0fHydKD4gL6SL08hHsySZsZsTLt
原田博 | 1154ydNqBzgV-rlX8QEfCSraNxj_PhPu2
武智 | 1B7yaNyJQIm3PH1_xfunNQt6W8kx33h9J
洲脇 | 1Br4R72eaUgAFh2LBv_KEwrT_qm-Zu2B2
大上 | 1ijX8h2NwJZC4DPGhUxnoecMvd522R022
安藤 | 1O3T_4IR33LtWS6NTOCvKkAy0j6LYSqqY
松田 | 1CSk4DF8c0eEUl_CeDcxWRuMRSbxc99pH
小倉正 | 1JSv6yo8l7tpfkQnBMk6csaJUNA_mO9hJ
美山 | 1BoHLXcZlWg0byzmB91CWldzdCPdB0UOK
東山 | 13pY2b1VRyIYq6YjgN9JbBvAdZ_ZTYRCF